INTERLOCK / ESD BYPASS PERMIT XXXXXX

Printable Form - To Be Completed Before Applying Any Bypass

1. General Information

| Bypass ID |  |
| --- | --- |
| Date / Time Requested |  |
| Requested By |  |
| Area / Unit |  |
| Equipment Tag |  |
| Cause & Effect Reference |  |
| System | ☐ DCS ☐ PLC ☐ ESD ☐ Other: ______________________________ |

2. Bypass Description and Risk Information

Describe Exactly What Will Be Bypassed

______________________________________________________________ ______________________________________________________________ ______________________________________________________________

| Reason for Bypass | ☐ Maintenance ☐ Calibration ☐ Proof Test ☐ Startup ☐ Shutdown ☐ Troubleshooting ☐ Repair ☐ Other: __________ |
| --- | --- |
| Hazard Protected Against | ☐ Overpressure ☐ High Level ☐ Low Flow ☐ Fire ☐ Gas Release ☐ Equipment Damage ☐ Other: __________ |

Consequence if Demand Occurs During Bypass

______________________________________________________________ ______________________________________________________________ ______________________________________________________________

| Risk Classification | ☐ Class 1 ☐ Class 2 ☐ Class 3 ☐ Class 4 |
| --- | --- |
| Current Process Conditions | ☐ Stable ☐ Startup ☐ Shutdown ☐ Abnormal ☐ Maintenance |
| Other Active Bypasses in Same Area | ☐ Yes ☐ No |

Details of Other Active Bypasses

______________________________________________________________ ______________________________________________________________

3. Compensating Measures and Operating Restrictions

Compensating Measures Required

______________________________________________________________ ______________________________________________________________ ______________________________________________________________ ______________________________________________________________

Operating Restrictions

______________________________________________________________ ______________________________________________________________ ______________________________________________________________ ______________________________________________________________

4. Approval

| Role | Name / Signature | Date / Time |
| --- | --- | --- |
| Requestor | ____________________________ | ________________ |
| Shift Supervisor | ____________________________ | ________________ |
| Operations Manager | ____________________________ | ________________ |
| Instrument / Controls Engineer | ____________________________ | ________________ |
| Process Engineer | ____________________________ | ________________ |
| Process Safety / HSE | ____________________________ | ________________ |

5. Implementation

| Applied By |  |
| --- | --- |
| Date / Time Applied |  |
| Verified By |  |
| HMI Indication Confirmed | ☐ Yes ☐ No |
| Logged in Shift Log | ☐ Yes ☐ No |

6. Monitoring

| Review Frequency |  |
| --- | --- |
| Responsible Person |  |
| Shift Handover Required | ☐ Yes ☐ No |

7. Restoration and Closeout

| Removed By |  |
| --- | --- |
| Date / Time Removed |  |
| Function Verified | ☐ Yes ☐ No |
| Verification Method |  |
| Compensating Measures Removed | ☐ Yes ☐ No |
| Closed By |  |